## Slide 1: Overview results: Hydropower for the energy demand in Eefde Tonnie Tekelenburg 20-21/01/2020

## Slide 2: Goals LochemEnergie
Contribution LochemEnergie to:
Sustainable development, climate policies,
By local production of renewable energy
Stronger local economy,
By reinvestment of local profit
Stronger social communities and quality of life,
By supporting local organisations
Decreasing expenses,
By lower energy bill

## Slide 3: stages
High port Eefde (2011-2012)
Smart mix research (2013-2015)
Water storage research (2016)
Conclusion feasibility study LochemEnergie (2017-2018)
New technique and new company (end 2019)
Extra hurdles

## Slide 5: Weir Lochem

## Slide 6: weir Berkel to IJssel

## Slide 7: Onderslag/ undershot water wheel diameter 6m and a capacity of 11kW

## Slide 9: Whirlpool turbine with integrated fish ladder

## Slide 10: whirlpool turbine

## Slide 11: Own design

## Slide 12: RWS impressie 2012

## Slide 13: Vijzel/mooring turbine

## Slide 14: Costs hydropower versus production capacity

## Slide 15
Own calculation
sheets

## Slide 16: Analysis framework: mismatch per day and per year

## Slide 17
Profitable business case from:
hydropower by combination of
two water streams and
water storage on the Twente channel
Water storage feasibility study

## Slide 18: Hydropower scenarios
  O = solar PV production
  A = with hydropower from the Berkel river
  B = with combined Berkel- en Twente channel- surplusses
  C = and storage of watersurplussen on Twente Channel in raining season
  D = and storage of surplussen on Twente Channel in dry period (pumping from river IJssel)

## Slide 19: Potential from two water sources for hydropower

## Slide 20: deficit/surplus solar-PV and with hydropower
solar-PV mix solar and hydropower two sources

## Slide 21: Kanniewaarzijn conclusies
Geen bonus voor goed je best doen (grid balancering)
Geen spectaculair resultaat energieopslag
Geen toestemming RWS voor:
  Gebruik bestaande pompen
  Bouw WKC naar sluis
  Energie opslag op Twente kanaal
  Overtollig water afvoeren naar Berkel
Gebruik stuw op Berkel rivier?
  Opstalrecht en watervergunning
  Waterschap Visveiligheid: norm 2.7% vissterfte telt ook voor RWS?
Techniek: van vijzel naar bovenslag rad

## Slide 22: EQA box
Hangend aan de stuwklep
Verval 1.60 m
Totaal debiet 3000 l/s
2 x EQA Box 20
2 x 16 kW*
170.000 - 225.000 kWh/j**
€ 215.000 ***